## detail
Call TBF Computing - +1 (770) 977-2925
Qty | Brand | PN | Model | Description | LOCATION | Cosmetic
7 | PANDUIT DELL EMC | CQSD5DKHB48B | 48U Rack | 48RU x 700mm x 1200mm, Dynamic Rating, Black, no side panels. G5 smartzone handle ACF06 with keypad, humidity and temp sensors | BOSTON MA | New in Box
43 | PANDUIT DELL EMC | CQSD5DKHB48B | 48U Rack | 48RU x 700mm x 1200mm, Dynamic Rating, Black, no side panels. G5 smartzone handle ACF06 with keypad, humidity and temp sensors | ATLANTA GA | New in Box
50 | total rack
28 | PANDUIT | GMSP-A3245RD/N |  | Panduit GE-PDU Power Distribution Unit | ATLANTA GA | New in Box
28 | PANDUIT | GMSP-A1845BU/N |  | Panduit GE-PDU Power Distribution Unit | ATLANTA GA | New in Box
32 | PANDUIT | GMSP-A3245BU/N |  | Panduit GE-PDU Power Distribution Unit | ATLANTA GA | New in Box
32 | PANDUIT | GMSP-A3245BU/N |  | Panduit GE-PDU Power Distribution Unit | ATLANTA GA | New in Box
18 | PANDUIT | GMSP-A1845BU/N |  | Panduit GE-PDU Power Distribution Unit | ATLANTA GA | New in Box
10 | PANDUIT | GMSP-A3260BU/N |  | Panduit GE-PDU Power Distribution Unit | ATLANTA GA | New in Box
148 | total pdu